32nd Meeting of the APEC Expert Group on
New and Renewable Energy Technologies
and
Associated Workshop on Recent Advances in Utility Based Financial Mechanisms
29 March to 3 April 2009, Honolulu, Hawaii, USA
FINANCIAL ASPECTS AND POTENTIAL
OF SMALL GRID CONNECTED HYDROPOWER
IN VIETNAM
Nguyen Duc Cuong
Director of Center for RE&CDM
Institute of Energy, Vietnam

---
Outline of Presentations
Outline of Presentations
1. OVERVIEW ON ENERGY/ELECTRICITY/RENEWABLE ENERGY IN VIETNAM
2. FINANCIAL ASPECTS AND POTETIAL OF SMALL GRID CONNECTED HYDROPOWER IN VIETNAM

---
1. OVERVIEW ON ENERGY/ELECTRICITY/RE IN VN
1.1. Demand on Energy & Electricity in VN Increasing Rapidly
On the year 2030, energy
demand of VN will increase
about 4 times comparing with
2005.
Attending on after 2012, VN
will have to import coal
for electricity generation.
The electricity demand in VN
is forecasted growing up
more than 10% per
year until 2025. Currently,
Vietnam purchases power
from other countries to prevent
shortages.
The Government of VN
has recognized the importance
of RE and considered master plan
for RE development for long term.
4 times
10 times

---
1.2. An Overview: Renewable Energy Development
Despite the high potential, electricity production from RE is still negligible, only about 1% of total power generation (2007).
The Government of VN has recognized the importance of RE for electricity generation.
The Electricity Law requires support for RE
Decision No.110/2007/QD-TTg: targeting RE of 4,051 MW by 2025
Decision No.1855/2008/QD-TTg: sets up the target with share of RE (3% in 2010; 5% in 2020)
August 2007, the Government has issued the decision 130/2007/QD-TTg on mechanisms and financial policies for projects invested in accordance with Clean Development Mechanism (CDM) that supports RE development.
July 2008, jointly, the Ministry of Finance and the Ministry of Nature and Environment have issued the Joint Circular 58/2008/TTLT-BTC-BTN&MT to guide implementation of provisions of the decision 130/2007/QD-TTg.
Clearly, this Joint Circular has also prescribed the object of subsidy, condition of subsidy, the calculation method of subsidy rate for one unit of electricity produced, annual subsidy amount, term of subsidy for CDM Projects in VN

---
2. FINANCIAL ASPECTS AND POTETIAL
OF SMALL GRID CONNECTED HYDROPOWER IN VN
2.1. Grid Connection RE Projects in VN
In 2001 the Government of Vietnam launched the RE Action Plan which set the general directions of Government intervention to encourage renewable energy. Most of the effort (and the success) has been in the development of an institutional framework to facilitate grid-connected RE projects. Before 2004, only 67 MW of small hydro projects have already connected to the grid, and, up to 2008 more than 700 MW of small hydro power in 78 projects are under construction or at final stages of financing and licensing.
A comprehensive package of reforms that will be in place by the end of 2008 has been a key enabling factor (including a new avoided cost tariff, a standardized power purchase agreement (SPPA), new regulations for licensing, a grid/distribution code) for grid-connected RE projects.
The actual contribution of small hydro power generation (plants with capacity ≤30 MW) was 575 GWh, and is expected to reach 2,000 GWh in the next few years. Moreover, according to the new survey, there will be about 3,443 MW of SHP capacity in 319 identified projects – corresponding to some 16,600 GWh.

---
2.2. Financial aspects and potential of grid connected of SHP
Hydro in Vietnam falls into four main classifications:
i). Pico-hydro systems, owned by individual households in rural areas, between 200 W and less than 1,000 W in size.
ii). Off-grid hydro systems that serve isolated mini-grids, typically from 1 kW to less than 1 MW in size.
iii). Grid-connected small hydro systems in the 1-30 MW size range.
iv). Large hydro, greater than 30 MW.
Size of small hydro power not exceeding 30 MW (defined by 2006).
Small hydropower potential: more than 4,000 MW breaks down by size category as below:
Capacity range (MW)	Total capacity (MW)
0.1 - 1	126.8
1 - 5	1,030.2
5 - 10	1,048.3
10 - 15	648.0
15 - 20	562.8
20 - 25	309.0
25 - 30	290.0
Total (<=30 MW)	4,015.1

---
Existing utilization
Capacity range (N)					Total
					No. of / Stations	Capacity (kW)
5 kW  N < 50 kW / 50 kW  N < 100 kW / 100 kW  N  10 MW					362 / 28 / 117	4,709 / 1,681 / 90,883
Total:					507	97.273
Project Pipeline
	Number / of projects	Total / installed / capacity	Average / project size
		MW	MW
MoU	178	2,175	12.2
Under construction, no tariff information	21	260	12.4
Under construction, tariff known	67	630	9.4
Under construction, signed PPA	11	101	9.2
In operation	42	278	6.6
Total	319	3,443	10.8

---
Supply Curve of SHP Project Pipeline

---
Master Plan for RE and SHP Development in VN
Strategy, Master plan for RE Development in VN in the period to 2015, with outlook to 2025 was prepared and submitted Gov (at 12/12/2008) for approval.
Set up the target of RE for grid connection
Set up the target of RE for off-grid
Set up the target of RE for heat utilization
Establish framework for supporting RE
Establishing measures to implement (management, support mechanisms, procedures. etc.)
Supply curve
of RE project
based on
existing tariff
and
reform tariff
(Avoided cost
in term of
Financial & Economic)

---
Renewable Electricity Target
10 times

---
Grid Connected SHP Target by Type (Option 1)
Principal SHP
78.5%

---
VIETNAM ELECTRICIY
****************************************************
32nd Meeting of the APEC Expert Group on New and Renewable Energy Technologies
and
Associated Workshop on Recent Advances in Utility Based Financial Mechanisms
Development of Small Grid-Connected Hydropower
at EVN's Power Distribution Companies
Presented by Ms. Phan Thi Thuy Tien
Director
Science Technology and Environment Department (EVN)
30th March – 03rd April 2009, Honolulu - Hawaii - USA

---
Contents
EVN’s Overview in 2008
EVN’s Small Grid-Connected Hydropower Development

---
Power Sector Structure of Vietnam
Power Sector Structure of Vietnam
Government of Vietnam
Ministry of Industry & Trade
(including ERAV)
Ministries
(MPI, MOF, MONRE, MOST…)
Vietnam Electricity
EVN
VINACOMIN
PV
Others
IPPs / BOTs
Power Generation Co.
National Load Dispatch Centre
National Power Transmission
Electrical Power Trade Co.
Power Distribution Co.
Power Consulting Engineering Co.
Others

---
EVN’s role in power system of Vietnam
EVN’s role in power system of Vietnam
Power System
15,864
MW
10,819
MW
EVN-owned
5,045
MW
Non-EVN
(owned by others)
12 Hydro Power
(5,257 MW)
NLDC
IT Center
EPTC
3 Coal-fired
(1,545 MW)
Information Center
NPT
(4 PTCs, 3 PPMBs)
2 Oil-fired
(200 MW)
Others
Schools
11 PCs
Gas Turbine
(3,363 MW)
EVNTelecom
PECCs & IoE
Generation
PPMBs
Diesel, SHP
(454 MW)
Manufactures

---
Electricity Generation of Vietnam
Electricity Generation of Vietnam

---
Transmission  &  Distribution  Network in 2008
Transmission
&
Distribution
Network
in 2008
kV	km	MVA
500	3,286	7,050
220	7,101	18,639
110	11,751	23,834
Rural
Electrification
Rate
(1996-2008)
in 2008
97.9 %
(commune)
94%
(household)

---
Average Tariff in 2008
Average Tariff in 2008
Non-EVN
EVN
Purchasing from Non-EVN
903 VND/kWh
~ 5.16 $cent/kWh
Industrial
Commercial
Residential
Rural & Remote Area
~2.4 $cent/kWh
Customers
Selling to Customers
870.44 VND/kWh
~ 4.97 $cent/kWh

---
Contry and Sector issues
Rapid Economic Growth and GoV:
Strategy Socio-Economic Development Plan 2006-2010 lays out a path of transition for VN:
- reaching middle-income country status
- continuing to a market economy by 2010
Role of GoV: would be transformed from a major producer of goods and services to regulator & provider of foundations for a well-functioning, equitable, and modern market economy

---
Power Sector Dynamics
Economic growth over 7% / year => many issues in energy sector.
Electricity: met challenge well in 1995-2008, household access 50% to ~94%; annual per capita consumption 156 kWh to ~800 kWh. However, supply shortage has become more visible.
EVN: main electricity provider, owns 2/3 of all generation; owns and operates transmission and MV distribution systems, LV distribution to urban areas and LV distribution in some rural areas.
Non-EVN: BOTs/IPPs own 1/3 of generation; 2/3 of LV distribution owned and operated by local distribution utilities received electricity from EVN.

---
Power Sector Dynamics
2004: Market-oriented Electricity Law
2005: Electricity Regulatory Authority of Vietnam (ERAV)
2009: Generation Competitive Market established and unbundle the sector - Roadmap for reform

---
Major Power Sector Issues
Central task is to meet demands for electricity in sufficient quantity and of an acceptable quality, in commercially and financially efficient.
1. Optimizing power investments (particularly for generation)
2. Financing investments
3. Implementing the reforms
4. Improving access and service quality
5. Addressing shortcomings in pricing and tariffs

---
Role of Renewable Energy
Challenges:
Government of Vietnam recognizes potential of renewable energy to contribution to sustainable development of power sector.
Grid-connected renewable energy (Commercially viable: small grid-connected hydropower, biomass, wind) can complement generation from large projects.
Recently, developers (mostly private companies) have been interested in exploiting renewable energy resources to sell electricity to national grid.

---
Role of Renewable Energy
Survey implemented by MoIT in 07/2007:
243 identified SHP projects (250 kW – 30 MW) in operation, under construction or with a written agreement with EVN to accept power:
Region	MW		Number of projects
North	1,020	46 %	102	42 %
Center	1,003	45 %	117	48 %
South	197	9 %	24	24 %
	-----------	-----------	-----------	-----------
Total	2,220	100 %	243	100 %

---
Role of Renewable Energy
Barriers to large-scale development of grid-connected renewable energy:
High transaction cost of negotiating a PPA with main player (EVN) (due to power tariff issues)
Inhospitable and non-transparent regulatory framework with a lengthy approvals process
Absence of a procedure for allocating or re-allocating project sites to the most able to develop

---
Role of Renewable Energy
Barriers to large-scale development of grid-connected renewable energy (continued):
Weakness of private sponsors to develop a site in a technically, socially and environmentally sustainable manner and take it to financial closure
Licensing burden as for large projects
Absence of suitably long financing tenors
Lack of skills among sponsors and bankers in assessing risk in such projects

---
Small Grid-Connected Hydropower
at EVN's Power Companies
EVN’s Rural Regional Power Companies (Northern, Central):
Renewable energy projects less than 30 MW: standardized “no negotiations” PPA is now mandatory – applied avoided cost tariff (ACT) that based on costs EVN avoided by purchasing electricity from small generators.

---
Small Grid-Connected Hydropower
at EVN's Power Companies
In the North (PC1): Master Plans approved by MoIT – development of small grid-connected hydropower projects located in 15 provinces => heavy burden for grid connection (implemented by EVN and PCs).
Total		30 MW or smaller		>30 – 98 MW
# projects	MW	# projects	MW	# projects	MW
Development to year 2015
344	3,978	315	2,546	29	1,441
Put into operation in 2009 – 2010
97	1,231	89	878	8	354

---
Small Grid-Connected Hydropower
at EVN's Power Companies
In the Center (Power Company 3 – PC3):
Potential of 337 small hydropower projects (3,044 MW) located in 13 provinces.
Currently: 40 small hydropower plants (~187 MW) put into operation.
Dray H’Linh 2
Small Hydropower Plant,
Daklak

---
Lessons learned from PC3 (in Centre)
In dry season 2008: Pmax ~890 MW
+ 700 MW from national grid,
+ remains from local small hydropower generation about 247 million kWh at peak hours, 101 million kWh at normal hours, totally ~ 348 million kWh (even with higher tariff than purchasing from EVN network).
+ Some small grid-connected hydropower plants generated at higher energy output (~20% in comparison with average amount).
Mostly as run-off-rivers => limitation of generating in dry season (while power demand is increased) that causes heavy power shortage.

---
Lessons learned from PC3 (in Centre)
Many small hydropower plants located in remote areas => capital investment for connection to national grid (with high cost), causing high losses, poor electricity quality in operation.
Lacking of forecasted information of water flows: causing inefficient operation.
Weakness of private sponsors to develop a site in a technically, socially and environmentally sustainable manner and take it to financial closure.

---
Lessons learned from PC3 (in Centre)
Measures???
Environmental and land uses: Planning for small grid-connected hydropower development mainly based on water resources not really considered about density of sites that cause wasting natural resources (such as land, forest).
Unsuitable connection to national grid: causing high technical loss.
For example in Kontum province: power demand about 25 MW but planned small grid-connection hydropower is developed about 492 MW => grid connection???

---
Lessons learned from PC3 (in Centre)
Lacking of standardization of technical design that need to be issued soon.
Added projects into approved Master Plan resulting inefficiently development and operation.
Lacking of incentive financing mechanism issued by related Ministry for renewable energy development.

---
References
References
- Power Master Development Plan No. 6 of Vietnam, approved by the Government of Vietnam
- Summary Report on Operation of Vietnam Power System - 2008
- Renewable Energy Development Project – March 2009 – Proposed Credit to Socialist Republic of Vietnam – The World Bank

---
Thank you for you attention