New Zealand’s Unique                         Electrical System
New Zealand’s Unique Electrical System
APEC ENERGY STORAGE Seminar
Honolulu May 2004
Barrie Leay

---
Why is the NZ system unique
Why is the NZ system unique
- Hydro power of 5000 MW 62.5%
- Gas fired thermal of 2000 MW 25.0%
- Geothermal and wind 1000 MW 12.5%
Renewable energy’s contribution still 75%

---
Storage ability
Storage ability
- Hydro – primarily run of river – 12 weeks
- Gas – in ground, life of field - infinite
- Gas – pipeline compression - 1 week
- Geothermal – in ground - infinite
- Wind zero

---
Crucial market competition
Crucial market competition
- We have used an open market for a decade
- Wind is usually scheduled ahead of hydro
- Stored hydro is therefore more valuable when wind is not blowing
- Gas has greater value when geo, wind and hydro are either unavailable or at maximum output
- Gas becomes the marginal highest cost supply

---
Distributed Generation future impacts on storage
Distributed Generation
future impacts on storage
- Solar water heating and PV are growing rapidly in domestic and commercial uses
- Storage in water cylinders and batteries
- Biogas from landfill and biowaste continues to increase
- Storage in resource dumps and pipelines
- Wind will evolve into pumped storage and irrigation systems
- Hydrogen will be stored at source and be converted into syngas from lignites, peat and biogass

---
Adding Value  to Renewable Power
Adding Value
to Renewable Power
- Wind for us will be the lowest cost power available for the next decade as the best wind resources are used first 10/12m/sec
- If we can find an economic way to add value by efficient storage there is a huge incentive to do so
- The hydrogen economy beckons the wind and geothermal producers