CEC’s Energy R&D Program and the Potential for Storage Technologies APEC Energy Storage Workshop  Honolulu, HI May 11, 2004
CEC’s Energy R&D Program and the Potential for Storage Technologies
APEC Energy Storage Workshop
Honolulu, HI
May 11, 2004
Terry Surles
Public Interest Energy Research Program
California Energy Commission

---
“Everyone is not entitled to an opinion. If they lack knowledge, they do not deserve to have an opinion.”
Sir Winston Churchill

---
“Everybody wants to get into da act!”
Jimmy Durante

---
When asked how the negotiations were going, he responded...
“About as distastefully	as anticipated”
W. Averell Harriman

---
Stakeholder Consultation
Stakeholder Consultation

---
GDP (2000)

---
Our R&D Program Should Impact  the Future Energy Marketplace
Our R&D Program Should Impact
the Future Energy Marketplace
Regulated
Status Quo
New energy systems
Same players
Centralized
De-centralized + Cleaner
Same energy systems
New players
Supermarket of Choices
De-regulated

---
Reasons for PIER Interest in  Storage Technologies
Reasons for PIER Interest in
Storage Technologies
- Need to be responsive to the end-user and system needs
- Need to have tools for mitigating energy problems
- Newer emerging storage technologies that hold promise
- Demonstration for acceptance and integration into electricity system
- CA’s needs present an opportunity for storage technologies ranging from less than a second for power quality oriented applications to several hours of energy as customer and system level backup
- Deregulation of energy made manifest the costs of instability and blackouts thus increasing the value of storage technologies

---
Multiple Storage Technologies for Varied Applications in California
Multiple Storage Technologies for Varied Applications in California
Pump
Storage
1 MW
1 kW
100 kW
10 MW
100 MW
Minutes
Hours
Maximum Discharge Time
High Energy Fly Wheels
Power Rating
Compressed
Air
Flow Batteries
NAS Battery
Metal-Air Batteries
Advanced Batteries
Lead-Acid Batteries
Super Capacitors
Energy
Management
Power Quality
& UPS
Spinning Reserve
Seconds
10 kW
Low Energy Fly Wheels
SMES

---
Seeking a Solution with Value,  Not Another Technology Demonstration
Seeking a Solution with Value,
Not Another Technology Demonstration
- Move beyond a technical demonstration.
- Demonstrate integration with the grid, user need and an economic viability.
- Facilitate the transition of a demonstrated technology to the next phase. Should not be commercially available, but show a large market potential. Provide immediate benefits to electric rate payers.

---
CEC/DOE Storage Technology R&D Was Meant to Prove “Value Principle”
CEC/DOE Storage Technology R&D Was Meant to Prove “Value Principle”
- Under new law (SB 1038), CEC can engage in market transformation activities
- Can projects be economically viable – no need for just another demo
- Established criteria for targeted, programmatic solicitation
- Developed solicitation for storage applications in partnership with DOE and industry
- Awarded three demonstrations for integrated storage technology application

---
Collaboration with US DOE Was Essential for Program implementation
Collaboration with US DOE
Was Essential for Program implementation
- Sponsored studies to assess the value of selected applications. This work built on the earlier work sponsored by the DOE for PJM area.
- Analysis focused on use of storage for selected applications with discernable economic benefits.
- Calculated the price goals the proposed projects have to meet for specified needs in California
- Used CEC program dollars, Doe support dollars and expertise

---
SPECIFIC PROBLEMS SEEKING SOLUTIONS
SPECIFIC PROBLEMS SEEKING SOLUTIONS
Renewable Resources
  - 1700 MW of underutilized wind power
  - Mandate for 20% Renewable use by 2010
Transmission & Distribution Congestion
  - Bottleneck at Path 15 joining CA north & south
  - San Francisco transmission bottleneck

---
Storage Applications Throughout the  California Electrical System
Storage Applications Throughout the
California Electrical System

---
ISO Daily Peak Loads January 2000 - August 31, 2001
ISO Daily Peak Loads
January 2000 - August 31, 2001
Summer Peak is 50%
higher than rest of year
Yet blackouts
occurred here

---
Monthly Load and Average Energy Costs to Serve Load
Monthly Load and Average Energy Costs to Serve Load

---
CAL ISO Daily Peak Loads
January 1, 2000 - December 31, 2000

---
CA Real Time Electricity Price
Daily Variations
For March 11, 2002 (California ISO)
~ $ 50/MWh

---
SPECIFIC PROBLEMS SEEKING SOLUTIONS
SPECIFIC PROBLEMS SEEKING SOLUTIONS
Industrial & Commercial Customers
  - Required to shed loads at short notice
  - Want to reduce peak demand charges
  - Want pollution free back-up power
  - Put premium on reliability & power quality

---
Criteria for Selecting Projects Under California/US DOE Program
Criteria for Selecting Projects Under California/US DOE Program
- Electricity storage applications that deliver tangible, well defined economic value to host site or customer
- Applications that can be replicated several times within California and nationally
- Those that have been demonstrated at a pilot scale and are beyond the “proof-of-concept”
- Build on the work done by US DOE and others to avoid repetition

---
Applications
Applications
- Bulk Electricity Price Arbitrage
- Utility T & D Deferral
- Customer Time-of-Use Cost Savings
- Customer Demand Charge Cost Savings
- Customer Premium Power
- Onsite Generation Time-Shift (Off-Peak to On-Peak)
- Renewables Capacity Firming
- Renewables Contractual Time-of-production Payments

---
Application Valuation &Market Potential Estimates
Application Valuation &Market Potential Estimates

---
Possible Limitations of the Proposed Approach
Possible Limitations of the Proposed Approach
- Not aware of other good applications.
- Valuation method may be not be precise or based on questionable assumptions.
- Market Potential could be optimistic.
- Screening process is uncommon and complicated.
- Optimistic technology cost & industry capabilities.

---
Team Building to Bid on  Turn-key Projects
Team Building to Bid on
Turn-key Projects
We encouraged a complete team of vendor, user and system integrator to submit turn-key proposals
- Contacted CA utilities to encourage them to host and/or sponsor a demonstration project
- Contacted customer and field application related associations to encourage them to host and/or sponsor a demonstration project
- Attempted to assist emerging electric energy storage technology providers in matching their capabilities with prospective demonstration project sites

---
EES RFP Results
EES RFP Results
RFP released on July 31, 2003
  - RFP goal was to award 4-5 contracts (not to exceed $5 million)
- Received 14 notices of intent-to-bid
- Received 7 proposals
  - 1 failed administrative screen
  - 2 failed technical screen
4 proposals passed all screens and were scored
  - 3 proposals recommended for future contract award

---
RFP Scoring Committee Recommends  Three Proposals for PIER Funding
RFP Scoring Committee Recommends
Three Proposals for PIER Funding
- Integration of wind, hydro and DG in MicroGrid using ultracapacitors
Demonstration of ZBB energy storage system for substation upgrade deferral
Flywheel Energy Storage System (FESS) Demonstration for kWh savings in Electrified Transit Networks

---
Energy Storage Enabled Renewable MicroGrid Power Network
Energy Storage Enabled
Renewable MicroGrid Power Network
- Pier Funding: $987K (22%)---------------------(Total Project Costs: $4,376K)
- Technology demonstrated: Integration of wind, hydro & DG in MicroGrid
          using ultracapacitors
- Utility: SCE
- End Customer: Palmdale Water District
- Target Market:
  - Enhance DG and Renewable use by utilities and end customers
  - T&D congestion relief for utilities, ISO and ESPs
  - End customer reliability
  - Demand response for end customers and utilities
  - Back-up power and power quality for end customers
Market Penetration Factors
  - Product has market pull--addressing issues critical to California and US
  - Wide range of potential applications of technology
  - Provides flexibility and demonstrates performance of enabling technology
  - PIER project provides actual costs and benefit comparisons for new customers
  - Integrated solution has more value to utilities and end customers

---
Energy Storage Enabled
Renewable MicroGrid Power Network
Project will integrate a 950kW wind turbine, 250 kW hydro and 250kW natural gas generator into a MicroGrid using 450kW ultra-capacitor.
How does project work:
- Ultracapacitor storage technology is used as an energy bridge to enable the smooth transfer of renewables and DG technologies.
- Project Impact: Enable the growth of DG and MicroGrids
  Apply energy storage as enabling technology.
        Provide critical missing link for renewable & DG integration

---
Energy Storage Enabled
Renewable MicroGrid Power Network
Project Timeline:
  - Start: April 2004
  - Commission: August 2005
  - Field Trial: 8/2005 – 12/2007
System Benefits
  - T&D congestion relief
  - T&D support (ancillary services)
  - Improved system reliability
  - Increased DR use enabling technology
  - Enhance renewable integration
  - Improved network power quality
End User Benefits
  - Reduced energy costs
  - Improved power quality
  - Back-up power protection
  - Improved system reliability

---
Demonstration of ZBB Energy Storage System
Demonstration of
ZBB Energy Storage System
Pier Funding: $1,873K (76%)------------Total Project Costs: $2,475K
Technology demonstrated: Zinc-Bromine battery storage for
        substation upgrade deferral
Utility: PG&E
End Customer: PG&E
Target Market:
T&D Congestion relief for utilities, ISO, and ESPs
T&D Deferral for utilities, ISO, and ESPs
Demand response for end customers and utilities
Back-up power and power quality for end customers
Market Penetration Factors
System mobile—rapid response to critical T&D utility need
Provides flexibility and demonstrates enabling technology
Market Pull--addressing issues critical to California and US

---
Demonstration of
ZBB Energy Storage System
- Project will demonstrate the value of using battery energy to improve T&D Congestion conditions and defer T&D upgrades
- How does project Work:
  - Transportable 2MW/2MWH battery energy storage will be installed at PG&E substation to demonstrate and assess value of T&D congestion relief & upgrade deferral.
Project Impact:
  - T&D system reliability improvement
  - Demonstrate economic impact of applying energy storage to T&D problems
  - Validates the use of DUIT project as a utility acceptance testing site.

---
Demonstration of
ZBB Energy Storage System
The Flowing Electrolyte Battery System
Project Timeline:
  - Start: April 2004
  - Commission: October 2005
  - Field Trial: 10/2005 – 9/2007
System Benefits
  - T&D upgrade deferral
  - T&D congestion relief
  - T&D support (ancillary services)
  - Improved system reliability
  - Improved network power quality
End User Benefits
  - Continue to use T&D resources without making system upgrade
  - Improved system flexibility
  - Improved system reliability

---
Flywheel Energy Storage System (FESS) Demonstration for Electrified Transit Networks
Flywheel Energy Storage System (FESS) Demonstration for Electrified Transit Networks
- Pier Funding: $891K (58%)-----------------------------(Total Project Costs: $1545K)
- Technology demonstrated: Flywheel Energy Storage for kWh savings
          in electrified transit networks
- Utility: San Francisco PUC
- End Customer: San Francisco Municipal Railway
Target Market:
  - Energy savings for public transit agencies (7 in California)
    - Large users of electricity—top 2 or 3 customer for each servicing utility
  - T&D congestion relief for utilities, ISO and ESPs
    - Peak load reduction for utility and end customer during critical times
  - Improved end customer reliability
  - Improves power quality for nearby customers on electric grid
Market Penetration Factors
  - Substantial energy saving potential 15-20%
  - PIER project provides actual costs and benefit comparisons for new customers
  - Adoption by one field system will result in market pull from others if end performance meets or exceeds expectations.

---
Flywheel Energy Storage System (FESS) Demonstration for Electrified Transit Networks
- Project will demonstrate capturing regenerative energy and diverting this energy into flywheel energy storage so it can be usefully used instead of wasted as heat
- How does project Work:
  - When electric trains slow down at stations, the regenerative braking energy is transferred to the flywheel and then transferred back to accelerate the train when it departs the station (100s of times a day)
Project Impact:
  - Capture and use energy that is currently wasted as heat
  - T&D peak load reductions of up to 15-20% of Muni system load (during peak demand times and other times)
  - Potentially used by 7 CA transportation systems at 460 stations.

---
Flywheel Energy Storage System (FESS) Demonstration for Electrified Transit Networks
Project Timeline:
  - Start: April 2004
  - Commission: August 2005
  - Field Trial: 7/2005 – 11/2007
System Benefits
  - T&D congestion relief
  - Improved system reliability
  - Improved network power quality
End User Benefits
  - Reduced energy consumption
  - Stabilize system voltage
  - Extend capacity of substations
  - Improved system flexibility

---
EES RFP—Lessons Learned
EES RFP—Lessons Learned
RFP was a clear effort to identify a “line in the sand”
   where R&D energy storage technologies are ready for
   a commercialization push in near term
CEC, DOE and Industry all had voice in defining the line
Proposals were rejected by CEC based on the definition
Industry representatives did not submit based on the line
Overall results indicated effort was successful
Independent verification “Value Proposition” has strong
    potential of accelerating the commercial acceptance of
    the technology

---
Status Update
Status Update
- Three approved energy storage proposals in the final stages of contract completion. Contract initiation expected by June 2004
- DOE has awarded contracts to the two independent verification contractors
  - EPRI-PEAC Corporation for performance analysis
  - Distributed Utility Associates (DUA) for Value Proposition verification
  - Both contractors will complete independent analysis of the field performance of all three selected energy storage technologies
- Commission staff continuing to work with industry and end users to identify other potential energy storage research and demonstrations opportunities

---
Final Thoughts
Final Thoughts
- After all the interest, response was underwhelming
  - Tacit acknowledgement that technology providers are not as far along as they advertise
- Positive benefit of catalyzing additional interaction between utilities, CAISO, CEC, technology providers, DOE
- Particular thanks and credit due to Joe Iannucci of Distributed Utilities Associates