## Slide 1: NRE for Power Generation in the APEC Region – Preliminary Findings APEC New and Renewable Energy Technologies Expert Group Meeting Twenty-Second Meeting 12-13 May, 2004
Jaya Singam Rajoo
Asia Pacific Energy Research Centre, Tokyo

## Slide 2: Outline
  Objectives
  Current Status of PV and Wind Technologies for Power Generation
  Historical Growth : Wind and PV Technology Demand
  Role of NRE in Power Generation
  Applications in Niche Market
  Policy Measures to Boost NRE Utilisation
  Initial Conclusions

## Slide 3: Objectives
Identify the role of NRE technologies for power generation in the APEC region
Estimate the NRE resources and potentials in APEC region
Establish the potential applications of NRE in meeting electricity demand in APEC region
Examine policy measures to promote NRE utilisation in APEC power sector

## Slide 4: Current and Projected Status of NRE Technologies for Power Generation in APEC Region
0
5,000
10,000
15,000
20,000
25,000
30,000
35,000
40,000
1999
2005
2010
2015
2020
2025
2030
2035
2040
2045
2050
TWh
Biomass, wind, solar & others
Geothermal
Hydro
Oil-Based
Nuclear
Natural Gas
Coal Steam
Business As Usual (BAU) Scenario
NRE’s share-2.38% in 2050

## Slide 5: Installed Wind Capacity in Selected APEC Economies
Source :AWEA
0
200
400
600
800
1000
1200
1400
1600
1993
2000
2003
Megawatts (MW)
Malaysia
Indonesia
Chile
Chinese Taipei
Mexico
Russia
Korea
New Zealand
Japan
China
Canada
Australia
USA has 6,374 MW or 82% of the
Total APEC Installed Wind Capacity in 2003
7,716.6
3,266.8
1,645.2

## Slide 6: Growth Trend: Installed Wind Capacity for Selected APEC Economies
Source : AWEA
0
1000
2000
3000
4000
5000
6000
7000
1993
1994
1995
1996
1997
1998
1999
2000
2001
2002
2003
MW
Australia
Canada
China
Japan
Korea
Mexico
New Zealand
United States

## Slide 7: Growth Trend: Installed Wind Capacity for Selected APEC Economies
0
200
400
600
800
1000
1200
1400
1993
1994
1995
1996
1997
1998
1999
2000
2001
2002
2003
MW
Australia
Canada
China
Japan
Korea
Mexico
New Zealand

## Slide 8: The cost of wind power in favourable wind regime declined by 47% between 1990 and 2000 and may decline another 38% by 2010
Source : AWEA
0
5
10
15
20
25
30
35
1980
1990
1995
2000
2005
2010
US cents/kWh
Canada
USA High Wind Speed
Europe High

## Slide 9: Current Status of Wind Technology
Wind capacity grew 14% annually in APEC and 33% per year globally from 1993-2003
Highest annual growth in New Zealand with 67% (albeit small base) followed by Japan-54%, Australia-44%, Canada-32% and China-29%
Key issue – how long can this rapid growth continue?

## Slide 10: Current Status of Wind Technology
Technical constraint – intermittent resource limits share to 20% of total generation
The best wind resources with lowest generating costs are often distant from load centres. Substantial scale may be needed to allow economical transmission over HV line
Growth concentrated in industrialised economies with favourable policies and economic incentives

## Slide 11: Wind Technology Boosters
The US has supported wind R&D for about two decades, in FY2003 it totalled US$43.4 million
Renewable Portfolio Standards - currently in 16 states
Cost reduction of 50% in the last 10 years due to
- high growth in demand
- fast improving technology
- various policy measures and incentives
Other incentives -PTC of 1.5 cents/kWh for first 10 years of operation since 1992 to 2003, extension still pending, rebates up to 50% of cost of small turbine (residential) in California

## Slide 12: Wind Technology in Developing Economies
Poorer economies are particularly sensitive to costs and cannot offer financial incentives
May require assistance to map their wind resources – China, Indonesia, Mexico, Philippines and Vietnam had assistance from NREL
In rural areas of developing economies without established power grids, stand-alone wind system are not a practical option
There may be some potential for combined wind/diesel hybrid system in rural applications with favourable wind regime

## Slide 13: The US has excellent wind resources within 100 km of major cities like Chicago and Minneapolis
Source : Montanagreenpower.org
California
Texas
Kansas
Iowa
Minnesota
Tennessee
Wyoming
Washington
Oregon
Montana
Colorado
N. Dakota
Notes: The US is like Saudi Arabia for wind energy. California is leading with 1,800 MW installed capacity, followed by Kansas with 1,100 MW followed by other states with less than 1000 MW.

## Slide 14: China has excellent wind resources in Anhui, Hubei and Jiangxi Provinces
Source: NREL
Area covered : 4,000 km2
Good to Excellent Wind at 30 m – 73,500GWh/yr
Moderate to excellent – 113,900 GWh/yr

## Slide 15: Measuring Solar Insolation
Average annual irradiation on earth – 19 Trillion toe
Current annual requirement – 9 Billion toe
January 1984-1993
Source: Earth Observatory, NASA
April 1984-1993

## Slide 16
Average Solar Radiation in USA for July
The dots represent the 239 sites of the
National Solar Radiation Database (NSRD)
Source: NREL Resource Assessment Program

## Slide 17
The dots represent the 239 sites of the
National Solar Radiation Database (NSRD)
Source: NREL Resource Assessment Program
Average Solar Radiation in USA for January

## Slide 18: Annual Addition to Photovoltaics (PV) Capacity
Grew over 4-fold worldwide from 1993-2000
Source: World Energy Council

## Slide 19: Installed Photovoltaics (PV) Capacity in APEC Region
Source: IEA-PVPS
0
100
200
300
400
500
600
700
1992
1993
1994
1995
1996
1997
1998
1999
2000
2001
2002
Megawatts (MW)
JPN
USA
AUS
MEX
CAN
ROK
Installed capacity tripled in Japan from 1999-2003

## Slide 20: Installed PV Capacity by Applications in Selected APEC Economies, 2002
Source: IEA-PVPS
0
100
200
300
400
500
600
700
AUS
CAN
JPN
KOR
MEX
USA
Megawatts (MW)
Off-grid domestic [MW]
Off-grid non-domestic [MW]
Grid-connected distributed [MW]
Grid-connected centralized [MW]
Rooftop in Japan, mixed uses elsewhere

## Slide 21: Application Share from Total Installed PV Capacity in Selected APEC Economies, 2002
Source: IEA-PVPS
AUS
CAN
JPN
KOR
MEX
USA
Off-grid domestic [MW]
Off-grid non-domestic [MW]
Grid-connected distributed [MW]
Grid-connected centralized [MW]
0%
10%
20%
30%
40%
50%
60%
70%
80%
90%
100%
Mostly off-grid applications except in Japan

## Slide 22: Installed PV Capacity in S.E. Asia, 2002
0
1000
2000
3000
4000
5000
6000
Indonesia
Malaysia
Vietnam
Thailand
Philippines
Kilowatt (kW)
Source: ACE
Still very limited, mostly off-grid application. Focus on rural villages without power grid

## Slide 23
Annual growth rate of about 33% from 1971-2000
Total installed capacity still low – around 930MW
Costs are still very high (~ US$0.60 per kWh) but are expected to decline substantially to US$0.30~0.40 by by 2020
Mostly utilised for off-grid applications (e.g. highway lighting, remote villages)
Distributed rooftop applications – huge in Japan and will be the next major market by reducing balance of system costs by combining PV modules with roof tiles
Major cost reductions have occurred. Further reductions are anticipated as production scale economies are achieved
Current Status of PV Technology in APEC Region

## Slide 24
The rooftop market still relies on subsidy for demand stimulation
-69 billion Yen from 1994-2000 covering 57,000
residential systems in Japan (210 MW)
  -16.8 billion Yen from 1992-2000 covering 495 public
  and commercial facilities (13.5 MW)
Large-scale grid applications will require further sharp cost reduction and intermittent sources like PV would be limited to about 20% of total generation even when cost-effective
Current Status of PV Technology in APEC Region

## Slide 25: Financial Incentives for PV Technology
In US the form of subsidy varies according to State
Some of the “incentives” offered in California include:
a) State rebate programmes – offering $3~4/W for residential installations
b) Utility rebate programmes are more generous
for both residential and commercial facilities.
Rebates ranges from 50% of first panel or
$3~5/W for both residential and commercial installations

## Slide 26: PV Applications in China
PV systems installed in 600,000 1995-2003 with assistance from GEF
PV production capacity will soon expand from 5 MW to 80MW per year largely directed at export market
Total installed PV capacity should reach 100MW by 2010, 80% for rural electrification
Goal : 24,000 village PV hybrid system by 2004
Rooftop demonstrated in Beijing and Shenzen

## Slide 27: PV Applications in Thailand
Battery charging station – 2 MWp
Telecommunications – 1.5 MWp
Water pumping – 1.13 MWp
Hybrid grid-connected – 313 kWp
Remote schools – 226 kWp
SHS –195 kWp (18,000kW by 2005)
Others – 500 kWp
Future Targets
  300,000 SHS with 120Wp each, to complete by 2006
  50 MW urban rooftop application by 2011

## Slide 28: PV Applications in Indonesia
Total installed capacity – 5 MW
SHS – more than 25,000 unit with capacity of 45 Wp each had been installed
Targets –2,750 new homes to be installed in 2004

## Slide 29: PV Applications in Philippines
Initiated in 1980s under the Philippines-German Solar Energy Programme
Solar Home System (SHS)– around 3,600 system had been installed to date
Total installed capacity – less than 1MW
More than 5 million household unelectrified, great potential for more SHS
Goal – 40,000 to 60,000 SHS by 2006
Telecommunications – currently 119 systems for relay stations with an installed capacity of 94Wp
Water pumps – 126 systems with a capacity of 175Wp has been installed

## Slide 30: PV Applications in Malaysia
SHS – 2.2 MW rural infrastructure
Telecommunications – 73kWp
Water pumping – 10 kWp
Navigation – 2 kWp have been installed so far including lighthouse, maritime beacon
NEDO supported project – 100kW (Diesel hybrid system) to supply rural village in Sabah

## Slide 31: Niche Market
RURAL ELECTRIFICATION
More than 230 million people in APEC have no access to electricity
Rural population distribution in some economies render grid extension infeasible
PV and wind technology in combination with diesel/battery provide a better alternative in these conditions
Electricity supply have significant impact on rural communities by stimulating economic development and improving quality of life

## Slide 32: Niche Market
AGRICULTURE
Significant percentage of population is involved in agricultural activities in developing economies of APEC
NRE technologies can be utilised in the agriculture sector
- PV and Wind water pumping system
- Solar drying

## Slide 33: Niche Market
OTHER APPLICATIONS
Powering rural schools
Refrigeration of medicine/vaccines in rural health facilities
Communications
Transportation/navigation
Streetlights

## Slide 34: Policy Options
Demand Pull Strategies
Financial Incentives
Market Facilitation and Investment
Rural Electrification Policy
Distributed Generation Policy

## Slide 35: Policy Options
Demand Pull Strategies
  Renewable Portfolio Standards
  Non-Fossil-Fuel-Obligation (UK, 1990-1997)
  Feed-in Tariffs (resulted in 8,500MW of installed wind from 1991-2001 in Germany)
  Green certificate (US, Australia, UK, Denmark & Belgium)

## Slide 36: Policy Options
Financial incentives
  Subsidies and rebates (Sunshine Programme -Japan, “Million solar roofs”- US)
  Tax relief (Investment tax credits, accelerated depreciation, production tax credits, property tax incentives, personal income tax incentives, sales tax incentives, pollution tax exemptions, etc)
  Grants
  Loans (varies in amount – residential, commercial and industrial)

## Slide 37: Policy Options
Market facilitation and investment
  Carbon tax, System Benefits Charge
  NRE access laws (allows property owners to access NRE resources)
  Infrastructure policy
  Government procurement
  Public awareness programme

## Slide 38: Policy Options
Rural Electrification Policy
  Energy Service Concession
  Microcredit and Rural Business Development
  Line extension Analyses

## Slide 39: Policy Options
Distributed Generation Policies
  Real-time pricing
  Net metering
  Interconnection Regulation

## Slide 40: APEC Power Generation, 1999-2050
An illustration based on 10% RPS in APEC
0
5,000
10,000
15,000
20,000
25,000
30,000
35,000
40,000
1999
2005
2010
2015
2020
2025
2030
2035
2040
2045
2050
TWh
Biomass, wind, solar & others
Geothermal
Hydro
Oil-Based
Nuclear
Natural Gas
Coal Steam
NRE - 4.7%

## Slide 41: Assumptions
Only in economies with GDP/capita of US$10,000 or more by 2030
10% increase – with 2.5% for every 5 years starting from 2035
Hydro is excluded
Excluding existing share of non-hydro NRE in 2034

## Slide 42: APEC Power Generation by Fuel Share
0
5,000
10,000
15,000
20,000
25,000
30,000
35,000
40,000
2000
2010
2020
2030
2040
2050
Geothermal
Hydro
Natural Gas
Nuclear
Oil-Based
Coal Steam
Biomass, wind & solar
TWh
Source: APERC 2004
An illustration based on 10% RPS in APEC

## Slide 43: Avoided Annual CO2 Emission
0
50
100
150
200
250
300
350
400
MT
2035
2040
2045
2050
N. Gas
Oil
Coal
Source:APERC 2004
357
182
20
An illustration based on 10% RPS in APEC

## Slide 44: Annual Total Fuel Saved with 10% RPS
2035
2040
2045
2050
Coal (tonnes)
27.87
61.15
97.15
133.47
Oil (mil bbls)
4.38
16.98
30.48
44.48
Gas (BCM)
15.17
33.91
54.15
74.56
Source: APERC 2004
An illustration based on 10% RPS in APEC

## Slide 45: Preliminary Conclusions
Non-hydro NRE would have a modest impact on the overall electricity industry
Current growth in NRE is dependent on favourable state “incentives” in the short term
Sound policy measures and economic incentives are vital for deployment of emerging technologies such as PV

## Slide 46: Preliminary Conclusions
Difficult to duplicate in developing economies without support from developed economies
In most cases, NRE took off only with initial bilateral/international financial support